## Workbook Overview
TABLE OF CONTENTS
Workbook Overview
FUCD Revenue Neutral Plan
Externalities
BACKUP INFO
ExampleGasElectricBill
Water To Be Saved
ConversionFactors
Colorado_Price_of_Natural_Gas
MethaneLeakage
PVWATTS
REFERENCES:
GeoPower, by Donal Blaise Lloyd
The Smart Guide to Geothermal: How to Harvest Earth's Free Energy for Heating and Cooling, by Donal Blaise Lloyd
Residential Geothermal Systems, by John Stojanowski
Make Solar andGeothermalWork for You, by Simon Marlow

## Revenue Neutral Plan
RENEWABLE ENERGY SYSTEM PROPOSAL - REVENUE NEUTRAL | [11 empty] | Round
MEMBER LENDER FINANCING "TRADITIONAL LOAN REPAYMENT" | [5 empty] | 196060 | GREEN GRANTS (DONATIONS) |  |  |  |  | 0 | Fossil Fuel Equipment Replacement options
FOSSIL FUEL ENERGY SYSTEM COSTS | [5 empty] | RENEWABLE ENERGY SYSTEM COSTS | [6 empty] | 3250 | /year (Ref: ASHRAE)
Current Electric Annual Bill |  |  | 12795 | (2012-2016 Average) |  | Solar Electric (55kW) |  | 137500 |  | Base Grid Fees | 540 |  | 2575 | /year (Ref: Miller & Dodson)
Current Gas Utility Annual Bill |  |  | 3830 | (2016 Actuals) |  | Geothermal |  | 293900 |  | Equip. Servicing | 460
New building saving |  | 12% | -1995 |  |  | Total Equipment Budget |  | 431400 |  | Annual O & M | 1000
Annualized Equipment Replacement Cost |  |  | 2900 | Average
|  | Total | 17530 |  |  | Organization's Total Budget |  | 828870 | (Optional)
"TRADITIONAL LOAN SERVICING" SCENARIO
100% Sustainable Energy System Cost |  |  | 431400
Dedicated Grants/Donations for Energy System |  |  | 196060 | 45.45%
Financing with Member Energy Loan |  |  | 235340 | 54.55%
| Interest |  | 27614 | 15 | year term @ | 1.5% | Interest Rate
| Total Financing Cost |  | 262954
Annual Loan Payments (Traditional) |  |  | 17530.2795 | [10 empty] | 3 | 188866
[14 empty] | 4 | 247288
20 Year Life Cycle Cost (Renewable) |  |  | 290651 | [10 empty] | 5 | 314243
20 Year Life Cycle Cost (Fossil Fuel) |  |  | 485192 | 3% | Inflation / Energy Escalation Rate
20 Year Cost Reduction with Solar/Geothermal |  |  | 194541
| Year | Old Utility Bill plus Replacement | New Operating Cost | Member Loan Servicing | Cum Disbursement to Members | Renewable Energy Utility Bill | Cum Utility Cost | Reduction in Energy Expenses (Resources for other Programs) | Cum Cost Reduction | Energy % of Church Total Budget
1 | 2017 | 18056 | 1030 | 17530.2795 | 17530.2795 | 18560.2795 | 18560.2795 | -504.2795 | -504.2795 | 2.239%
2 | 2018 | 18598 | 1061 | 17530.2795 | 35060.559 | 18591.2795 | 37151.559 | 6.7205 | -497.559 | 2.178%
3 | 2019 | 19156 | 1093 | 17530.2795 | 52590.8385 | 18623.2795 | 55774.8385 | 532.7205 | 35.1615 | 2.118%
4 | 2020 | 19731 | 1126 | 17530.2795 | 70121.118 | 18656.2795 | 74431.118 | 1074.7205 | 1109.882 | 2.06%
5 | 2021 | 20323 | 1160 | 17530.2795 | 87651.3975 | 18690.2795 | 93121.3975 | 1632.7205 | 2742.6025 | 2.003%
6 | 2022 | 20933 | 1195 | 17530.2795 | 105181.6769 | 18725.2795 | 111846.6769 | 2207.7205 | 4950.3231 | 1.949%
7 | 2023 | 21561 | 1231 | 17530.2795 | 122711.9564 | 18761.2795 | 130607.9564 | 2799.7205 | 7750.0436 | 1.896%
8 | 2024 | 22208 | 1268 | 17530.2795 | 140242.2359 | 18798.2795 | 149406.2359 | 3409.7205 | 11159.7641 | 1.844%
9 | 2025 | 22874 | 1306 | 17530.2795 | 157772.5154 | 18836.2795 | 168242.5154 | 4037.7205 | 15197.4846 | 1.794%
10 | 2026 | 23560 | 1345 | 17530.2795 | 175302.7949 | 18875.2795 | 187117.7949 | 4684.7205 | 19882.2051 | 1.745%
11 | 2027 | 24267 | 1385 | 17530.2795 | 192833.0744 | 18915.2795 | 206033.0744 | 5351.7205 | 25233.9256 | 1.698%
12 | 2028 | 24995 | 1427 | 17530.2795 | 210363.3539 | 18957.2795 | 224990.3539 | 6037.7205 | 31271.6461 | 1.652%
13 | 2029 | 25745 | 1470 | 17530.2795 | 227893.6334 | 19000.2795 | 243990.6334 | 6744.7205 | 38016.3666 | 1.608%
14 | 2030 | 26517 | 1514 | 17530.2795 | 245423.9129 | 19044.2795 | 263034.9129 | 7472.7205 | 45489.0871 | 1.565%
15 | 2031 | 27313 | 1559 | 17530.2795 | 262954.1924 | 19089.2795 | 282124.1924 | 8223.7205 | 53712.8076 | 1.523% |  |  | 3580.8538
16 | 2032 | 28132 | 1606 | 0 | 262954.1924 | 1606 | 283730.1924 | 26526 | 80238.8076 | 0.1244%
17 | 2033 | 28976 | 1654 | 0 | 262954.1924 | 1654 | 285384.1924 | 27322 | 107560.8076 | 0.1244%
18 | 2034 | 29845 | 1704 | 0 | 262954.1924 | 1704 | 287088.1924 | 28141 | 135701.8076 | 0.1244%
19 | 2035 | 30740 | 1755 | 0 | 262954.1924 | 1755 | 288843.1924 | 28985 | 164686.8076 | 0.1244%
20 | 2036 | 31662 | 1808 | 0 | 262954.1924 | 1808 | 290651.1924 | 29854 | 194540.8076 | 0.1244%
|  | 485192 | 27697 | 262954.1924 |  | 290651.1924 |  | 194540.8076
|  | Total 20 yr Fossil Fuel Costs |  | Total Loan Payments |  | Total 20 yr Renewable Energy Costs |  | Total Cost Reduction/ Financial Gain

## Externalities
IGNORED COSTS (EXTERNALITES) - ASSUMPTION: CURRENTLY BUYING ENERGY FROM XCEL
INSTRUCTION: Light Blue cells are for User Input; Yellow cells are model results |  |  | USER INPUT
RESULTS(Output)
NOTE: Our current economic system is broken. It allows many types of producers (including 'for-profit' Utility Corporations) to ignore / externalize the costs of their products in their market price. As a result the free market is not properly informed of the true cost /total cost of that product. But today we know better. And we must choose. We can continue to steal Earth's finite resources from our children and future generations OR we can pay our own way through life and practice sustainable living. Attempting to identify & internalize "externalities" is good place to start. Then we can see clearly what the sustainable choices really are.
Externalities are ignored or hidden costs. In the energy sector our current economic system allows utility companies to hide/ignore specific costs that are so numerous it is hard to even identify and list them. In the detailed study by Epstein et.al. cited below there are a dozen ignored cost that are identified and monetized specifically for coal-generated electricity: • Land disturbance • Methane emissions from mines • Carcinogens (mostly to water from waste) • Public health burden of communities in Appalachia • Fatalities in the public due to coal transport • Emissions of air pollutants from combustion • Lost productivity from mercury emissions • Excess mental retardation cases from mercury emissions • Excess cardiovascular disease from mercury emissions • Climate damage from combustion emissions of CO2 and N2O • Climate damages from combustion emissions of black carbon
Continuing to burn one-time-only ancient hydrocarbons to generate thermal energy has two major unsustainable ramifications: 1) The combustion products are doing harm to all Life on the Planet 2) The continued consumption of these ancient hydrocarbons is depleting the finite reserves - and we are not replacing these this stored energy for future generations. Item #1 Reparation Costs. When we realize we are doing (or have done) harm, as responsible adults, we stop that behavior and make amends. Studies are emerging, such as "Full cost accounting for the life cycle of coal" by Paul R. Epstein, et.al. that begin to estimating the monetary cost to repair the damage our fossil fuel (e.g. coal) burning behavior is causing. We refer to this as the Reparation Cost. Because over 50% of the electrical power used at First Universalist is generated by burning coal, the Epstein study can help estimate the monetary cost of the harm we at First Universalist are currently doing. Item #2 Replacement Costs. Currently 93% of the energy we use to operate our church is withdrawn from the Earth's finite energy account in the form of dwindling reserves of ancient hydrocarbons. In effect, for the past century we humans have reverted to suckling infants feeding off our mother Earth, rather that living as responsible adults honorably, sustainably harvesting the energy we need for the life style we prefer. It is time to make amends and either replace the one-time-use energy (make deposits into the Earth's energy account) or at least pay the Replacement Cost to future generations.
REPARATION COSTS
Externalities associated with Electrical Power Generation
Coal Generated Electricity - Externalites
Paul R. Epstein, et. al., Harvard Medical Center for Health and the Global Environment
REFERENCE: "Full cost accounting for the life cycle of coal" by Paul R. Epstein, Jonathan J. Buonocore, Kevin Eckerle, Michael Hendryx, Benjamin M. Stout III, Richard Heinberg, Richard W. Clapp, Beverly May, Nancy L. Reinhart, Melissa M. Ahern, Samir K. Doshi, and Leslie Glustrom, ANNALS OF THE NEW YORK ACADEMY OF SCIENCES Issue: Ecological Economics Reviews
"We estimate that the life cycle effects of coal and the waste stream generated are costing the U.S. public a third to over one-half of a trillion dollars annually. Accounting for the damages conservatively doubles to triples the price of electricity from coal per kWh generated, making wind, solar, and other forms of nonfossil fuel power generation, along with investments in efficiency and electricity conservation methods, economically competitive."
"Life cycle analysis, examining all stages in using a resource, is central to the full cost accounting needed to guide public policy and private investment. " "In order to rigorously examine these different damage endpoints, we examined the many stages in the life cycle of coal, using a framework of environmental externalities, or “hidden costs.” Externalities occur when the activity of one agent affects the well-being of another agent outside of any type of market mechanism—these are often not taken into account in decision making and when they are not accounted for, they can distort the decision-making process and reduce the welfare of society. This work strives to derive monetary values for these externalities so that they can be used to inform policy making." |  |  |  |  | Xcel Energy Fuel Mix (Adjust as required)
Our comprehensive review finds that the best estimate for the total economically quantifiable costs, based on a conservative weighting of many of the study findings,...to be close to 17.8¢ /kWh ...the upper bounds of electricity generated from coal could add close to 26.89¢ /kWh....These and the more difficult to quantify externalities are borne by the general public. | [5 empty] | 2014 | 2018
Approximately 44% of the electrical power purchased from Xcel Energy is generated from coal. |  |  |  |  | Coal | 52.7% | 44%
Residential rates are around $0.11 /kWh; Commercial rates are around $0.17 /kWh. |  |  |  |  | Natural Gas | 25.3% | 28%
Using the results of Epstein, et. al. at the Harvard Medical Center, we learn that externalities add from $0.18 to $0.27 / kWh to the cost electrical power generated by coal |  |  |  |  | Wind | 18.9% | 23%
So the total commerical rate with externalities internalized would increase from $0.17 to between $0.35 and $0.44 / kWh (two to nearly three times more than currently billed by Xcel) |  |  |  |  | Hydro/Other | 1.9% | 2%
Approximately 28% of the electrical power is generated from natural gas. |  |  |  |  | Solar | 1.2% | 3%
We acknowledge that natural gas "burns cleaner" than coal. A coal fired plant produces 2 lbs of CO2 for every 1 kWh generated. A gas fired plant produces 1.2 lbs / kWh. Both are "dirty" but burning natural gas does not release the mercury and other heavy metals associated with coal. Nor does natural gas result in the issues associated with handling and storing coal ash/fly ash. | [5 empty] | 100% | 100%
But natural gas has different issues that do harm, specically leakage into the atmosphere. Natural gas is predominately methane. Methane is a powerful green house gas. We now know that, pound for pound, methane has a Global Warming Potential (GWP) that is 86 times that of CO2 when averaged over a 20 year period according to the IPCC. Our EPA stills uses a GWP of 25 when averaged over a 100 year time frame - but we now know that the methane molecule has only a 10-15 year lifetime when released into the atmosphere. (by then it has transformed into CO2 and water vapor) - so the 20 year averaging period proposed by the IPCC is more reasonable so we use GWP = 86 in this assessment.
Methane Leakage. We now know that when natural gas is drilled/fracked/collected/transport, there is at least 3% leakage of methane. For years the natural gas industry has been self-reporting less than 3% to the EPA. The EPA has been so underfunded it is does not have to the staff to monitor or verify the self reported data. Recently independent organizations (Non-profits and iniversities) as well as NOAA and NASA have conducted actual measurement of methane concentrations in several currently producing gas fields. They measured leakage rates in the range of 6-17%. Why is this important? Because a 3% leakage during the natural gas production process makes natural gas worse than burning coal from a climate change perspective. This model uses the natural gas leakage rate as a variable, although it is being initialize automatically not a zero (that's obviously not reality), but at 3% knowing it could be double or triple that amount in the real world. Methane leakage is not being experimentally monitored, there are no guidelines or regulations (Colorado prides itself in having the "strictest" regulation in the country that limits leakage to 5% which is a joke). http://www.scientificamerican.com/article/colorado-first-state-to-limit-methane-pollution-from-oil-and-gas-wells/ The EPA has recently proposed some regulations that are very complex - it is not yet clear how they will actually limit methane leakage - any leakage is not good for the global warming at this point in time - there is no safe level. http://www3.epa.gov/airquality/oilandgas/pdfs/og_nsps_pr_081815.pdf
Without methane leakage, 1 kWh of electrical power from a gas-fired plant would result in 1.2 lbs of CO2. If 3% of gas produced leaks into the atmosphere before it is burned, the combination of leakage and burning is 1.93 times worst - an equivalent of 2.3 lbs of CO2 . With 3% methane leakage, from a climate change perspective, producing electric using natural gas is 15% worse than burning coal. Using the Xcel mix shown in the graphic, we can estimate the amount of CO2 created when Xcel generates 1 kWh of electrical power.
The general expression becomes - with leakage of: | 3% | 1.9347 | multiplier | (NOTE: Any value above 1.67 is worse than Coal)
XCEL Specific GHG Emissions per kWh
| 1.5301 | lbs / kWh |  | Assume 2018 Xcel Energy Fuel Mix (see H15 -H18)
Annual Electrical Usage (bought from Xcel) as we do today |  | 72040 | kWh
CO2 eq produced by this scenario /year = |  | 110226.433 | lbs
|  | 50.012 | metric tonnes / year | HARM (Tonnes) with Methane Leakage
If we continue to buy energy from Xcel Electric, as they currently generate it |  | 20 | years
|  | 1000.2399 | metric tonnes over this time frame
Natural Gas Generated Electricity - Externalites (CO2 Production Only)
Here we can use another study to estimate the externality associated only with the climate change issue - the CO2 emissions created by a natural gas generating plant. The cost of capturing and resequestering the CO2 is the main concern - for a natural gas generating plant, mercury, coal ash , etc are not in play.
Externalized costs associated with the use of fossil fuel in generating plants, we can use a report, "THE COST OF CARBON CAPTURE" by Jeremy David and Howard Herzog, Massachusetts Institute of Technology (MIT), Cambridge, MA. "We found that carbon dioxide capture increases the busbar electricity cost (COE) from ….. 3.3 to 4.9 ¢/kWh at Natural Gas Combined Cycle (NGCC) plants."
25.3% of the electrical power is generated using natural gas-fired generating plants.
Total Electrical Annual Usage |  | 72040 | kWh
Billed Cost ($ / kWh) | 0.17 | 12246.8
Coal Generated |  | 38181.2 | kWh
Billed Cost ($ / kWh) | 0.17 | 6490.804
Externalities ($ / kWh) | 0.27 | 10308.924
TRUE COST ($ / kWh) |  | 16799.728
Natural Gas Generated |  | 18226.12 | kWh
Billed Cost ($ / kWh) | 0.17 | 3098.4404
Externalities ($ / kWh) | 0.219 | 3991.5203
TRUE COST ($ / kWh) |  | 7089.9607
Other |  | 15632.68 | kWh
Billed Cost ($ / kWh) | 0.17 | 2657.5556
Externalities ($ / kWh) | 0 | 0
TRUE COST ($ / kWh) |  | 2657.5556
TOTAL TRUE COST( ANNUAL ) |  | 26547.2443
Billed Cost |  | 12246.8
Externalities |  | 14300.4443 |  | HARM - Monetized ($)
Years of Operation | 20 |  | Escalation @ 4.5% / year, | 1.57
Billed Cost |  | 384549.52
Externalities |  | 449033.9504
TOTAL TRUE COST (20 Years) |  | 833583.4704
Water Consumption
NREL indicates there are about 2 gallons of water consumed for every kWh of electrical power produced. By generating power using solar PV, this water would not be consumed but rather saved.
Power generated /consumed by First Universalist annually |  | 72040 | kWh
|  | 144080 | Gallons of water consumed annually
|  | 12006.6667 | Gallons of water consumed monthly
|  | 67.7176 | Monthly water Cost
|  | 812.6112 | Annual Cost
Years of Operation | 20
|  | 2881600 | Gallons of water consumed over 20 years - enough to maintain a living wall?
20 Year Cost with 4.5% escalation |  | 25515.9917 | (not included in Reparation Cost Total)
Externalities associated with Natural Gas (Burning for Heating Purposes)
AS IS - Natural Gas - Externalites
CO2 Production / Addition to the Atmosphere
For this exercise, we will only consider two externalities: 1) Burning natural gas in a furnace results in the production of CO2. This CO2 is vented/dumped into the atmosphere. 2) The drilling/fracking/collection/transportation of natural gas results in leakage of methane into the atmosphere. Methane has a GWP of 86 averaged over 20 years compared to CO2. Although leakage rates have been measured in actual gas producing fields to be 6% - 17%, the oil and gas industry often self-reports a level of 3% leakage to the EPA. That's what we will use for illustration.
Amount of CO2 produced from burning natural gas
Amount consumed annually | 5196 | therms / year
CO2 per therm
1therm = | 0.005302 | metric tons CO2 |  | http://www.eia.gov/environment/emissions/co2_vol_mass.cfm |  | 11.6856
CO2 | 27.5492 | metric tons CO2 / year
Cost to capture & sequester CO2 | 60 | /tonne
Externality - no leakage | 1652.9515 | /year | Note: this natural gas is currrently sold for $3,804 / year
CO2 Equivalent with Leakage
Leakage | 3% | See cell "B23" to input different value
Muliplier | 1.9347
CO2 | 53.3005 | metric tons CO2 / year with methane leakage |  | HARM (Tonnes) with Methane Leakage
Externality - with leakage | 3198.0314
Operation | 20 | years
CO2 produced using natural gas (tonnes) | 1066.0105
Cost to capture & sequester CO2 | 63960.6285 | No escalation due to inflation, etc.
Water Consumption (Extraction/Fracking Process)
Water consumed (extraction/transport) 0.3 | 0.3 | gallons/therm
| 1558.8 | gallons/year
| 129.9 | gallons/month
| 2.82 | per month
| 33.84 | per year
20 Year Operation | 20
| 31176 | gallons/ 20 years
| 676.8 | per 20 years | (not included in Reparation Cost Total)
TOTAL REPARATION COSTS | 17498.4757 | (Annual)
| 512994.5789 | (20 years)
REPLACEMENT COSTS (for finite energy extracted from Earth and consumed)
Electric | 72040 | kWh
generated using renewable energy sources | 0.11 | /kWh
7924.4
Natural Gas | 5196 | therms
| 519600000 | BTUs
| 152242.8 | kWh |  |  | 224282.8 | 24671.108
| 16746.708 |  |  |  | 493422.16
Total Annual Replacement Cost | 24671.108
20 Year Operation | 20
Electric | 158488
Natural Gas | 334934.16
493422.16
TOTAL REPLACEMENT COST | 24671.108 | (Annual)
| 493422.16 | (20 years)
IGNORED COSTS (EXTERNALITES) (20 Years Period) | 1006416.7389
Table 4. Total costs of coal normalized to kWh of electricity produced.
Monetized estimates from | Monetized life cycle assessment results literature in ¢/kWh of |  | in ¢/kWh of electricity (2008 US$) electricity (2008 US$)
| Low | Best | High | IPCC 2007, U.S.
Hard Coal
Land disturbance | 0 | 0.01 | 0.17
Methane emissions from mines | 0.03 | 0.08 | 0.34 | 0.11
Carcinogens (mostly to water from waste) |  |  | 0.6
Public health burden of communities in Appalachia | 4.36 | 4.36 | 4.36
Fatalities in the public due to coal transport | 0.09 | 0.09 | 0.09
Emissions of air pollutants from combustion | 3.23 | 9.31 | 9.31 | 3.59
Lost productivity from mercury emissions | 0.01 | 0.1 | 0.48
Excess mental retardation cases from mercury emissions | 0 | 0.02 | 0.19
Excess cardiovascular disease from mercury emissions | 0.01 | 0.21 | 1.05
Climate damage from combustion emissions of CO2 and N2O | 1.02 | 3.06 | 10.2 | 3.56
Climate damages from combustion emissions of black carbon | 0 | 0 | 0.01 | 0.19
Environmental Law Institute estimate 2007 |  |  | 0.27
EIA 2007 | 0.16 | 0.16
AMLs | 0.44 | 0.44 | 0.44
Climate total | 1.06 | 3.15 | 10.7 | 3.75
Total | 9.36 | 17.84 | 26.89
| 9.35 | 17.84 | 27.51 | 7.45
Water Consumption Cost Table (Residential)
1000 gals | 1-11 | 12-30 | 31-40 | Over 40
Price per 1,000 / month | 2.82 | 5.64 | 8.46 | 11.28
1 THERM = | 100000 | BTUs
1 BTU = | 0.293 | watt hours
1 btu = | 0.000293 | kilowatt hours
This chart isn't available in your version of Excel. Editing this shape or saving this workbook into a different file format will permanently break the chart.
Note on B112: Does NOT include cost of water consumed
Note on B130: Does NOT have the 4.5% escalation factor included. Solar PV cost to generate energy is fixed

## ExampleGasElectricBill
Example Energy Usage Report Summary | [6 empty] | Energy Escalation Table
Customer Name: |  | AddressLine1: | [5 empty] | 3% | 4% | 4.5% | 5%
Account Number: |  | City, State, Zip:
Report Create Date: | [6 empty] | 1 | 1.03 | 1.04 | 1.045 | 1.05
Premise Number: Premise Description: | [6 empty] | 2 | 1.0609 | 1.0816 | 1.092 | 1.1025
Invoice Date | Gas Service Subtotal | Electric Service Subtotal | Total Taxes | Gas & Electric Total | Gas Service | Electric Service | 3 | 1.0927 | 1.1249 | 1.1412 | 1.1576
2018-01-31 | 688.88 | 833.02 | 0.00 | 1521.9 | 3830.09 | 12795.11 | 4 | 1.1255 | 1.1699 | 1.1925 | 1.2155
2018-02-28 | 746.40 | 970.61 | 0.00 | 1717.01 | Therms | kWH | 5 | 1.1593 | 1.2167 | 1.2462 | 1.2763
2018-03-31 | 534.62 | 1,055.31 | 0.00 | 1589.93 | 5196 | 72040 | 6 | 1.1941 | 1.2653 | 1.3023 | 1.3401
2018-04-30 | 207.01 | 834.09 | 0.00 | 1041.1 |  |  | 7 | 1.2299 | 1.3159 | 1.3609 | 1.4071
2018-05-31 | 118.07 | 1,341.47 | 0.00 | 1459.54 |  |  | 8 | 1.2668 | 1.3686 | 1.4221 | 1.4775
2018-06-30 | 81.53 | 1,298.11 | 0.00 | 1379.64 |  |  | 9 | 1.3048 | 1.4233 | 1.4861 | 1.5513
2018-07-31 | 58.68 | 1,331.90 | 0.00 | 1390.58 |  |  | 10 | 1.3439 | 1.4802 | 1.553 | 1.6289
2018-08-31 | 60.62 | 1,391.24 | 0.00 | 1451.86 |  |  | 11 | 1.3842 | 1.5395 | 1.6229 | 1.7103
2018-09-30 | 168.77 | 1,065.94 | 0.00 | 1234.71 |  |  | 12 | 1.4258 | 1.601 | 1.6959 | 1.7959
2018-10-31 | 209.65 | 847.78 | 0.00 | 1057.43 |  |  | 13 | 1.4685 | 1.6651 | 1.7722 | 1.8856
2018-11-30 | 272.53 | 875.29 | 0.00 | 1147.82 |  |  | 14 | 1.5126 | 1.7317 | 1.8519 | 1.9799
2018-12-31 | 683.33 | 950.35 | 0.00 | 1633.68 |  |  | 15 | 1.558 | 1.8009 | 1.9353 | 2.0789
| 3830.09 | 12795.11 | $0.00 | 16625.2 |  |  | 16 | 1.6047 | 1.873 | 2.0224 | 2.1829
|  |  | Monthly Ave. | 1385.4333 |  |  | 17 | 1.6528 | 1.9479 | 2.1134 | 2.292
[7 empty] | 18 | 1.7024 | 2.0258 | 2.2085 | 2.4066
[7 empty] | 19 | 1.7535 | 2.1068 | 2.3079 | 2.527
[7 empty] | 20 | 1.8061 | 2.1911 | 2.4117 | 2.6533
[8 empty] | 27.6765 | 30.9692 | 32.7831 | 34.7193
[8 empty] | 1.3838 | 1.5485 | 1.6392 | 1.736
[8 empty] | 3% | 4% | 4.5% | 5%
[7 empty] | Ave Multiplier | 1.3838 | 1.5485 | 1.6392 | 1.736

## Water To Be Saved
NATURAL GAS PRODUCTION - WATER CONSUMPTION
0.6 to 1.8 gallons of water for every million Btu
.06 to .18 gallons for every 1/10 of a million btu = 1 therm
Also saw 3 gallons /million BTU
.3 gallon for a therm
| 5195 | used per year
| 935.1 | gallons water consumed / year
| 20 | years of operation
| 18702 | over 20 years of operation
ELECTRICAL POWER PRODUCTION - WATER CONSUMPTION
2 gallons / kWh
| 72040 | kWh | (power used per year)
| 144080 | gallons water consumed /year
| 20 | years of operation
| 2881600 | over 20 years of operation
TOTAL WATER SAVED |  | 2900302 | Gallons over 20 years

## ConversionFactors
What are Ccf, Mcf, Btu, and therms? How do I convert natural gas prices in dollars per Ccf or Mcf to dollars per Btu or therm?
C—equals one hundred (100)
Ccf—equals the volume of 100 cubic feet (cf) of natural gas
M—equals one thousand (1,000)
MM—equals one million (1,000,000)
Mcf—equals the volume of 1,000 cubic feet (cf) of natural gas
MMBtu—equals 1,000,000 British thermal units (Btu) (One Btu is the heat required to raise the temperature of one pound of water by one degree Fahrenheit.)
Therm—One therm equals 100,000 Btu, or 0.10 MMBtu
In 2014 the average heat content of natural gas for the residential, commercial, and industrial sectors was about 1,028 Btu per cf; one Ccf = 102,800 Btu or 1.028 therms; one Mcf = 1.028 MMBtu or 10.28 therms.
You can convert prices from one basis to another:
$ per Ccf divided by 1.028 = $ per therm
$ per therm multiplied by 1.028 = $ per Ccf
$ per Mcf divided by 1.028 = $ per MMBtu
$ per Mcf divided by 10.28 = $ per therm
$ per MMBtu multiplied by 1.028 = $ per Mcf
$ per therm multiplied by 10.28 = $ per Mcf

## Colorado_Price_of_Natural_Gas
Colorado Price of Natural Gas Sold to Commercial Consumers Annual
http://www.eia.gov/beta/api/qb.cfm?sdid=NG.N3020CO3.A
14:16:24 GMT-0600 (Mountain Daylight Time)
Source: Energy Information Administration
| Year | Series ID: NG.N3020CO3.A Dollars per Thousand Cubic Feet | [5 empty] | (Divide by 10 to get $/therm)
48 | 2014 | 8.15 | 8.6609 | 8.6609 | 8.5115
47 | 2013 | 7.26 | 8.1707 | 8.1707 | 8.335
46 | 2012 | 7.58 | 7.7082 | 7.7082 | 8.1585
45 | 2011 | 7.84 | 7.2719 | 7.2719 | 7.982
44 | 2010 | 7.58 | 6.8603 | 6.8603 | 7.8055
43 | 2009 | 7.56 | 6.4719 | 6.4719 | 7.629
42 | 2008 | 9.01 | 6.1056 | 6.1056 | 7.4525
41 | 2007 | 8.1 | 5.76 | 5.76 | 7.276
40 | 2006 | 9.61 | 5.434 | 5.434 | 7.0995
39 | 2005 | 9.38 | 5.1264 | 5.1264 | 6.923
38 | 2004 | 7.48 | 4.8362 | 4.8362 | 6.7465
37 | 2003 | 5.93 | 4.5625 | 4.5625 | 6.57
36 | 2002 | 4.82 | 4.3042 | 4.3042 | 6.3935
35 | 2001 | 7.71 | 4.0606 | 4.0606 | 6.217
34 | 2000 | 5.37 | 3.8307 | 3.8307 | 6.0405
33 | 1999 | 4.55 | 3.6139 | 3.6139 | 5.864
32 | 1998 | 4.34 | 3.4093 | 3.4093 | 5.6875
31 | 1997 | 4.06 | 3.2164 | 3.2164 | 5.511
30 | 1996 | 3.67 | 3.0343 | 3.0343 | 5.3345
29 | 1995 | 4.23 | 2.8625 | 2.8625 | 5.158 |  | y = 0.1765x + 0.0395
28 | 1994 | 4.37 | 2.7005 | 2.7005 | 4.9815
27 | 1993 | 4.04 | 2.5477 | 2.5477 | 4.805
26 | 1992 | 4 | 2.4034 | 2.4034 | 4.6285
25 | 1991 | 4.04 | 2.2674 | 2.2674 | 4.452
24 | 1990 | 3.99 | 2.1391 | 2.1391 | 4.2755
23 | 1989 | 4.05 | 2.018 | 2.018 | 4.099
22 | 1988 | 3.86 | 1.9038 | 1.9038 | 3.9225
21 | 1987 | 4.15 | 1.796 | 1.796 | 3.746
20 | 1986 | 4.43 | 1.6943 | 1.6943 | 3.5695
19 | 1985 | 4.61 | 1.5984 | 1.5984 | 3.393
18 | 1984 | 4.77 | 1.508 | 1.508 | 3.2165
17 | 1983 | 5.04 | 1.4226 | 1.4226 | 3.04
16 | 1982 | 4.57 | 1.3421 | 1.3421 | 2.8635
15 | 1981 | 3.84 | 1.2661 | 1.2661 | 2.687
14 | 1980 | 3.01 | 1.1944 | 1.1944 | 2.5105
13 | 1979 | 2.29 | 1.1268 | 1.1268 | 2.334
12 | 1978 | 1.73 | 1.063 | 1.063 | 2.1575
11 | 1977 | 1.4 | 1.0029 | 1.0029 | 1.981
10 | 1976 | 1.09 | 0.94611 | 0.94611 | 1.8045
9 | 1975 | 0.99 | 0.89255 | 0.89255 | 1.628
8 | 1974 | 0.83 | 0.84203 | 0.84203 | 1.4515
7 | 1973 | 0.68 | 0.79437 | 0.79437 | 1.275
6 | 1972 | 0.64 | 0.74941 | 0.74941 | 1.0985
5 | 1971 | 0.59 | 0.70699 | 0.70699 | 0.922
4 | 1970 | 0.57 | 0.66697 | 0.66697 | 0.7455
3 | 1969 | 0.55 | 0.62922 | 0.62922 | 0.569
2 | 1968 | 0.55 | 0.5936 | 0.5936 | 0.3925
1 | 1967 | 0.56 | 0.56 | 0.56 | 0.216
|  |  |  | 6% | 0.1765
|  |  | dy/dx = | d Price/d Year = |  | 0.1765 | = 17 cents per year?

## MethaneLeakage
Story of Methane Leakage
We need to understand what is involved with 5196 therms of natural gas. Natural gas is predominately methane so we will consider it as such. |  | 5196 | therms
Therm—One therm equals 100,000 Btu, or 0.10 MMBtu |  | 519600000 | BTU
We know that 1 million (10^6) BTU of methane produces 117 lbs of CO2 according to EIA We know that 1000 cubic feet of natural gas produces 115 lbs of CO2 We know there are about 1,030 BTU / cubic feet of natural gas We know that 1000 standard cubic feet (@60 deg F) of methane weighs about 42.1 lbs and when burned it produces 115 lbs of CO2 |  | 504466.0194 | cubic feet of natural gas |  |  |  |  | Potency Factor | [8 empty] | Add on the carbon tax for 5196 therms plus leakage. $Start with 15/ton and add $10 each year
|  | 21238.0194 | lbs of methane | but some leaks into atmosphere |  |  | lbs of CH4 leaked | 25 |  | 85 |  |  |  | 1 | 2 | 3 | 4 | 5 | 6 | 10 | 20
Methane heat content is 1,012 Btu/scf methane. Natural Gas is 1,030 Btu/cu ft |  | 58013.5922 | lbs of CO2 |  |  |  |  | (100 year average) |  | (20 year average) | 1 kWh |  |  | 15 | 25 | 35 | 45 | 55 | 65 | 105 | 205
|  | 26.322 | metric tonnes of CO2 |  |  |  |  | Equivalent lbs of CO2 | Equivalent metric tonnes of CO2 | Equivalent lbs of CO2 | Equivalent metric tonnes of CO2
http://cdiac.esd.ornl.gov/pns/faq.html | 2.7316 |  |  |  |  | 0% | 0 | 0 | 0 | 0 | 0 | 26 | 0.98777 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Q. How much carbon dioxide is produced from the combustion of 1000 cubic feet of natural gas? | [5 empty] | 1% | 212.3802 | 5309.5049 | 2.409 | 18052.3165 | 8.1907 | 34.5127 | 1.3112 | 122.8606 | 204.7677 | 286.6747 | 368.5818 | 450.4888 | 532.3959 | 860.0242 | 1679.0948
A. If we start with 1000 cubic feet of natural gas (and assuming it is pure methane or CH4) at STP (standard temperature and pressure, i.e., temperature of 273°K = 0°C = 32°F and pressure of 1 atm = 14.7 psia = 760 torr), and burn it completely, here's what we come up with: | [5 empty] | 2% | 424.7604 | 10619.0097 | 4.8181 | 36104.633 | 16.3814 | 42.7034 | 1.6223 | 245.7212 | 409.5353 | 573.3494 | 737.1636 | 900.9777 | 1064.7918 | 1720.0483 | 3358.1895
1 cubic foot (cf) = 0.0283165 cubic meters (m3) | [5 empty] | 2.5% | 530.9505 | 13273.7621 | 6.0226 | 45130.7913 | 20.4768 | 46.7987 | 1.7779 | 307.1515 | 511.9191 | 716.6868 | 921.4544 | 1126.2221 | 1330.9898 | 2150.0604 | 4197.7369
and 1 m3 = 1000 liters (L) | [5 empty] | 3% | 637.1406 | 15928.5146 | 7.2271 | 54156.9495 | 24.5721 | 50.8941 | 1.9335 | 368.5818 | 614.303 | 860.0242 | 1105.7453 | 1351.4665 | 1597.1877 | 2580.0725 | 5037.2843
[6 empty] | 3.5% | 743.3307 | 18583.267 | 8.4316 | 63183.1078 | 28.6675 | 54.9894 | 2.0891 | 430.0121 | 716.6868 | 1003.3615 | 1290.0362 | 1576.7109 | 1863.3857 | 3010.0845 | 5876.8317
[6 empty] | 4% | 849.5208 | 21238.0194 | 9.6361 | 72209.266 | 32.7628 | 59.0848 | 2.2447 | 491.4424 | 819.0706 | 1146.6989 | 1474.3271 | 1801.9554 | 2129.5836 | 3440.0966 | 6716.3791
so 1 cf = 28.31685 L | [5 empty] | 5% | 1061.901 | 26547.5243 | 12.0452 | 90261.5825 | 40.9535 | 67.2755 | 2.5559 | 614.303 | 1023.8383 | 1433.3736 | 1842.9089 | 2252.4442 | 2661.9795 | 4300.1208 | 8395.4739
and 1000 cf = 28316.85 L | [5 empty] | 6% | 1274.2812 | 31857.0291 | 14.4542 | 108313.899 | 49.1442 | 75.4662 | 2.867 | 737.1636 | 1228.6059 | 1720.0483 | 2211.4907 | 2702.9331 | 3194.3754 | 5160.1449 | 10074.5686
[6 empty] | 10% | 2123.8019 | 53095.0485 | 24.0903 | 180523.165 | 81.9071 | 108.229 | 4.1117 | 1228.6059 | 2047.6766 | 2866.7472 | 3685.8178 | 4504.8884 | 5323.959 | 8600.2415 | 16790.9477
Since 1 mole of a gas occupies 22.4 L at STP, 28316.85 L of CH4 contains 28316.85/22.4 = 1264.145 moles of CH4 (each mole of CH4 = approx. 16 g) | [5 empty] | 12% | 2548.5623 | 63714.0583 | 28.9084 | 216627.7981 | 98.2885 | 124.6104 | 4.7341 | 1474.3271 | 2457.2119 | 3440.0966 | 4422.9814 | 5405.8661 | 6388.7509 | 10320.2898 | 20149.1373
20226.08
44.5508
If we burn CH4 completely, it follows this equation:
CH4 + 2O2 => CO2 + 2H20
3%
That is, for each mole of methane we get one mole of carbon dioxide. | [13 empty] | 3 35: 1.9347
One mole of CO2 has a mass of approx. 44 g, so 1264.145 moles of CO2 has a mass of approx. 1264.145 x 44 or 55622.38 g
122.5154
A pound is about equivalent to 454 g, so 55622.38 g is about equivalent to 55622.38/454 or 122 lb
That is, the complete combustion of 1000 cubic feet at STP (44.6 lbs) of natural gas results in the production of about 122.5 lbs of carbon dioxide. |  | 58333.1251 | lbs CO2
2.7466
Of course, the mass of the methane in 1000 cubic feet will vary if the temperature and pressure are NOT as assumed above, and this will affect the mass of CO2produced. According to the Ideal Gas Law:
2.75
PV = nRT
where P = pressure
V = volume
n = moles of gas
T = temperature
R = constant (0.08206 L atm/mole K or 62.36 L torr/mole K)
at STP, 1000 cf contains
n = PV/RT moles of methane
= (1 atm)(28316.85 L)/(0.08206 L atm/mole K)(273°K)
= 1264 moles CH4 (the value given in the example above)
20224
44.5463
In the energy industry, however, 1 standard cubic foot (scf) of natural gas is defined at 60°F (= 15.6°C = 288.6°K) and 14.7 psia, rather than at STP (Handbook of Formulae, Equations and Conversion Factors for the Energy Professional, JOB Publications, Tallahassee, FL;). Solving again at this higher (relative to STP) temperature, we get:
n = (1 atm)(28316.85 L)/(0.08206 L atm/mole K)(288.6°K)
= 1196 moles CH4
19136
42.1498
That is, at the higher temperature, a given volume of gas will contain fewer moles, and less mass. Going again through the calculation for CO2 emitted, but using the value of 1196 moles of CH4, results in an answer of approximately 115 lb of carbon dioxide. [RMC]
Xcel Energy Mix
[7 empty] | CO2 /kWh | [6 empty] | 1 15: #REF!; 2 25: leakage would be breakeven point with gasoline
[5 empty] | Coal | 56 | 2.1 | #REF!
[5 empty] | Gas | 21.6 | 1.22 | #REF!
[5 empty] | Wind | 19.3 | 0
[5 empty] | Hydro | 1.9 | 0
[5 empty] | Solar | 1.1 | 0
[5 empty] | other | 0.1 | 0
[6 empty] | 100 | #REF! | #REF!
from Xcel Energy Mix
additional CO2 can be allocated to natural gas leakage to break even
actual CH4 mass
If we include leakage, that can be a game changer.
Assumes 20 year average heat trappng characterisitcs of Methane (CH4)
1 lb of CH4 = 86 lbs of CO2

## PVWATTS
Flat Roof 10 degree | 1455 |  |  | South Wall 90 degree tilt | 1102
1 kW @ 20 degrees |  | 1528 | kWh / year